## Sheet1
SUBSTANCE OR CONDITION,Source,Sample Year(s),Detection Limit,Minimum Detected,Average Detected System-wide,Average Detected at San Juan-Chama Drinking Water Plant,Maximum Detected,Maximum Contaminant Level (MCL),Maximum Contaminant Level Goal (MCLG)
Arsenic,Erosion of natural volcanic deposits,2023,1 PPB,Zero PPB,2.4 PPB,Zero PPB,9.0 PPB,10 PPB,Zero PPB
Barium,Erosion of natural deposits,2023,0.01 PPM,0.046 PPM,0.071 PPM,0.056 PPM,0.18 PPM,2 PPM,2 PPM
Chromium,Erosion of natural deposits,2023,1 PPB,Zero PPB,0.3 PPB,Zero PPB,2.0 PPB,100 PPB,100 PPB
Fluoride,Erosion of natural deposits,2023,0.10 PPM,0.36 PPM,0.58 PPM,0.65 PPM,0.73 PPM,4 PPM,4 PPM
Gross Alpha Particle Activity,Erosion of natural deposits,2023,0.7 - 1.0 pCi/L,Zero pCi/L,0.4 pCi/L,0.7 pCi/L,1.6 pCi/L,15 pCi/L,Zero pCi/L
Nitrate,Runoff from fertilizer use; leaching from septic tanks, sewage; erosion of natural deposits,2023,0.05 PPM,Zero PPM,0.20 PPM,0.12 PPM,0.72 PPM,10 PPM,10 PPM
Radium 226 + 228,Erosion of natural deposits,2023,0.01 - 0.21 pCi/L,0.02 pCi/L,0.13 pCi/L,0.04 pCi/L,0.50 pCi/L,5 pCi/L,Zero pCi/L
Uranium,Erosion of natural deposits,2023,1 PPB,Zero PPB,2.0 PPB,Zero PPB,6 PPB,30 PPB,Zero PPB
Bromate,By-product of drinking water disinfection,2023,1 PPB,Zero PPB,Not Applicable,1.4 PPB,4.1 PPB,10 PPB,Zero PPB
Chlorine,Disinfectant,2023,0.1 PPM (distribution system),0.3 PPM,1.0 PPM,Not Applicable,1.8 PPM,4 PPM (MRDL),4 PPM (MRDLG)
Chlorine,Disinfectant,2023,0.03 PPM (surface water),0.4 PPM,Not Applicable,1.4 PPM,1.6 PPM,4 PPM (MRDL),4 PPM (MRDLG)
Chlorine,Disinfectant,2023,0.03 PPM (groundwater),TT met at 100% of sites (TT= Maintain required chlorine level or restore within 4 hours),TT,TT,TT,TT,TT
SUBSTANCE OR CONDITION,Source,Sample Year(s),Detection Limit,Minimum Detected,Average Detected System-wide,Average Detected at San Juan-Chama Drinking Water Plant,Maximum Detected,Maximum Contaminant Level (MCL),Maximum Contaminant Level Goal (MCLG)
Arsenic,Erosion of natural volcanic deposits,2022,1 PPB,Zero PPB,3.0 PPB,1.0 PPB,7.0 PPB,10 PPB,Zero PPB
Barium,Erosion of natural deposits,2022,0.01 PPM,0.051 PPM,0.070 PPM,0.080 PPM,0.10 PPM,2 PPM,2 PPM
Chromium,Erosion of natural deposits,2022,1 PPB,Zero PPB,0.3 PPB,Zero PPB,1.0 PPB,100 PPB,100 PPB
Fluoride,Erosion of natural deposits,2022,0.10 PPM,0.51 PPM,0.62 PPM,0.57 PPM,0.72 PPM,4 PPM,4 PPM
Gross Alpha Particle Activity,Erosion of natural deposits,2020,0.7 - 1.0 pCi/L,Zero pCi/L,0.4 pCi/L,Zero pCi/L,0.9 pCi/L,15 pCi/L,Zero pCi/L
Nitrate,Runoff from fertilizer use; leaching from septic tanks, sewage; erosion of natural deposits,2022,0.05 PPM,Zero PPM,0.33 PPM,0.46 PPM,2.96 PPM,10 PPM,10 PPM
Radium 226 + 228,Erosion of natural deposits,2020,0.01 - 0.21 pCi/L,Zero pCi/L,0.07 pCi/L,0.05 pCi/L,0.19 pCi/L,5 pCi/L,Zero pCi/L
Uranium,Erosion of natural deposits,2020,1 PPB,Zero PPB,2.2 PPB,Zero PPB,5 PPB,30 PPB,Zero PPB
Bromate,By-product of drinking water disinfection,2022,1 PPB,Zero PPB,Not Applicable,1.7 PPB,3.8 PPB,10 PPB,Zero PPB
Chlorine,Disinfectant,2022,0.1 PPM (distribution system) 0.03 PPM (surface water) 0.03 PPM (groundwater),0.3 PPM 0.6 PPM,0.9 PPM Not Applicable,Not Applicable 1.4 PPM,2.0 PPM 1.5 PPM,4 PPM (MRDL) 4 PPM (MRDL),4 PPM (MRDL) 4 PPM (MRDL)
SUBSTANCE OR CONDITION,Source,Sample Year(s),Detection Limit,Minimum Detected,Average Detected System-wide,Average Detected at San Juan-Chama Drinking Water Plant,Maximum Detected,Maximum Contaminant Level (MCL),Maximum Contaminant Level Goal (MCLG)
As Arsenic See Common Concerns on page 4,Erosion of natural volcanic deposits,2021,1 PPB,Zero PPB,1.5 PPB,Zero PPB,3.0 PPB,10 PPB,Zero PPB
Ba Barium,Erosion of natural deposits,2021,0.01 PPM,0.054 PPM,0.117 PPM,0.054 PPM,0.18 PPM,2 PPM,2 PPM
F- Fluoride²,Erosion of natural deposits,2021,0.10 PPM,0.34 PPM,0.4 PPM,0.34 PPM,0.46 PPM,4 PPM,4 PPM
Gross Alpha Particle Activity,Erosion of natural deposits,2020,0.7 - 1.0 pCi/L,Zero pCi/L,0.4 pCi/L,Zero pCi/L,0.9 pCi/L,15 pCi/L,Zero pCi/L
NO₃ Nitrate,Runoff from fertilizer use; leaching from septic tanks, sewage; erosion of natural deposits,2021,0.05 PPM,Zero PPM,0.54 PPM,0.17 PPM,2.9 PPM,10 PPM,10 PPM
Ra Radium 226 + 228,Erosion of natural deposits,2020,0.01 - 0.21 pCi/L,Zero pCi/L,0.07 pCi/L,0.05 pCi/L,0.19 pCi/L,5 pCi/L,Zero pCi/L
U Uranium,Erosion of natural deposits,2020,1 PPB,Zero PPB,2.2 PPB,Zero PPB,5 PPB,30 PPB,Zero PPB
BrO₃ Bromate,By-product of drinking water disinfection,2021,1 PPB,Zero PPB,Not Applicable,2.0 PPB,4.9 PPB,10 PPB,Zero PPB
Cl Chlorine,Disinfectant,2021,0.1 PPM (distribution system) 0.5 PPM (surface water) 0.03 PPM (groundwater),0.3 PPM,0.9 PPM,Not Applicable,1.8 PPM 1.6 PPM 1.3 PPM,4 PPM (MRDL) 4 PPM (MRDL) 4 PPM (MRDL),TT TT TT
SUBSTANCE OR CONDITION,Source,Sample Year(s),Detection Limit,Minimum Detected,Average Detected System-wide,Average Detected at San Juan-Chama Drinking Water Plant,Maximum Detected,Maximum Contaminant Level (MCL),Maximum Contaminant Level Goal (MCLG)
As Arsenic See Common Concerns on page 4,Erosion of natural volcanic deposits,2020,1 PPB,Zero PPB,3 PPB,Zero PPB,8 PPB,10 PPB,Zero PPB
Ba Barium,Erosion of natural deposits,2020,0.01 PPM,0.03 PPM,0.072 PPM,0.054 PPM,0.17 PPM,2 PPM,2 PPM
Cr Chromium,Erosion of natural deposits,2020,1 PPB,Zero PPB,0.8 PPB,Zero PPB,7 PPB,100 PPB,100 PPB
F- Fluoride,Erosion of natural deposits,2020,0.10 PPM,0.39 PPM,0.66 PPM,0.77 PPM,1.2 PPM,4 PPM,4 PPM
Gross Alpha Particle Activity,Erosion of natural deposits,2020,0.7 - 1.0 pCi/L,Zero pCi/L,0.4 pCi/L,Zero pCi/L,0.9 pCi/L,15 pCi/L,Zero pCi/L
NO3- Nitrate,Runoff from fertilizer use; leaching from septic tanks, sewage; erosion of natural deposits,2020,0.05 PPM,Zero PPM,0.49 PPM,0.15 PPM,2.8 PPM,10 PPM,10 PPM
Ra Radium 226 + 228,Erosion of natural deposits,2020,0.01 - 0.21 pCi/L,Zero pCi/L,0.07 pCi/L,0.05 pCi/L,0.19 pCi/L,5 pCi/L,Zero pCi/L
C8H10 Total Xylenes,Discharge from petroleum or chemical factories,2020,0.0005 PPM,Zero PPM,0.000062 PPM,Zero PPM,0.00065 PPM,10 PPM,10 PPM
U Uranium,Erosion of natural deposits,2020,1 PPB,Zero PPB,2.2 PPB,Zero PPB,5 PPB,30 PPB,Zero PPB
BrO3- Bromate,By-product of drinking water disinfection,2020,1 PPB,Zero PPB,Not Applicable,1.6 PPB,5 PPB,10 PPB,Zero PPB
Cl Chlorine,Disinfectant,2020,0.1 PPM (distribution system) 0.03 PPM (surface water) 0.03 PPM (groundwater),0.3 PPM,1.0 PPM,Not Applicable,1.7 PPM 1.6 PPM,4 PPM (MRDL) 4 PPM (MRDLG) TT TT